## 2018
DATE: |  |  |  | 2019-05-23 |  | DATE: |  |  |  | 2019-06-05 |  | DATE: |  |  |  | 2019-06-20 |  | DATE: |  |  |  | 2019-07-01 |  | DATE: |  |  |  | 2019-07-25 |  | DATE: |  |  |  | 2019-08-12 |  | DATE: |  |  |  | 2019-09-05
GATE SETTINGS: | [5 empty] | GATE SETTINGS: | [5 empty] | GATE SETTINGS: | [5 empty] | GATE SETTINGS: | [5 empty] | GATE SETTINGS: | [5 empty] | GATE SETTINGS: | [5 empty] | GATE SETTINGS:
| Left Service Gate (ft): |  |  | 0 |  |  | Left Service Gate (ft): |  |  | 0 |  |  | Left Service Gate (ft): |  |  | 0 |  |  | Left Service Gate (ft): |  |  | 0.5 |  |  | Left Service Gate (ft): |  |  | 0 |  |  | Left Service Gate (ft): |  |  | 0 |  |  | Left Service Gate (ft): |  |  | 0
| Right Service Gate (ft): |  |  | 0 |  |  | Right Service Gate (ft): |  |  | 0 |  |  | Right Service Gate (ft): |  |  | 0 |  |  | Right Service Gate (ft): |  |  | 0.5 |  |  | Right Service Gate (ft): |  |  | 0 |  |  | Right Service Gate (ft): |  |  | 0 |  |  | Right Service Gate (ft): |  |  | 0
| 17" Valve (%): |  |  | 100 |  |  | 17" Valve (%): |  |  | 60 |  |  | 17" Valve (%): |  |  | 60 |  |  | 17" Valve (%): |  |  | 0 |  |  | 17" Valve (%): |  |  | 70 |  |  | 17" Valve (%): |  |  | 63 |  |  | 17" Valve (%): |  |  | 55
LAKE ELEVATION (ft NGVD): |  |  |  | 1467.27 |  | LAKE ELEVATION (ft NGVD): |  |  |  | 1464.6 |  | LAKE ELEVATION (ft NGVD): |  |  |  | 1464.2 |  | LAKE ELEVATION (ft NGVD): |  |  |  | 1468.68 |  | LAKE ELEVATION (ft NGVD): |  |  |  | 1464.27 |  | LAKE ELEVATION (ft NGVD): |  |  |  | 1459.15 |  | LAKE ELEVATION (ft NGVD): |  |  |  | 1453.85
LAKE TREND: |  |  |  | Steady |  | LAKE TREND: |  |  |  | Falling |  | LAKE TREND: |  |  |  | Rising |  | LAKE TREND: |  |  |  | Falling |  | LAKE TREND: |  |  |  | Falling |  | LAKE TREND: |  |  |  | Falling |  | LAKE TREND: |  |  |  | Falling
FLOW: | [5 empty] | FLOW: | [5 empty] | FLOW: | [5 empty] | FLOW: | [5 empty] | FLOW: | [5 empty] | FLOW: | [5 empty] | FLOW:
| Flow @ Upstream Barton Gage (cfs): |  |  | 55 |  |  | Flow @ Upstream Barton Gage (cfs): |  |  | 28 |  |  | Flow @ Upstream Barton Gage (cfs): |  |  | 79 |  |  | Flow @ Upstream Barton Gage (cfs): |  |  | 138 |  |  | Flow @ Upstream Barton Gage (cfs): |  |  | 14 |  |  | Flow @ Upstream Barton Gage (cfs): |  |  | 6 |  |  | Flow @ Upstream Barton Gage (cfs): |  |  | 5
| Outflow @ Downstream Savage Gage (cfs): |  |  | 80 |  |  | Outflow @ Downstream Savage Gage (cfs): |  |  | 65 |  |  | Outflow @ Downstream Savage Gage (cfs): |  |  | 64 |  |  | Outflow @ Downstream Savage Gage (cfs): |  |  | 456 |  |  | Outflow @ Downstream Savage Gage (cfs): |  |  | 81 |  |  | Outflow @ Downstream Savage Gage (cfs): |  |  | 65 |  |  | Outflow @ Downstream Savage Gage (cfs): |  |  | 52
|  | STATION 1 | STATION 2 | STATION 3 |  |  |  | STATION 1 | STATION 2 | STATION 3 |  |  |  | STATION 1 | STATION 2 | STATION 3 |  |  |  | STATION 1 | STATION 2 | STATION 3 |  |  |  | STATION 1 | STATION 2 | STATION 3 |  |  |  | STATION 1 | STATION 2 | STATION 3 |  |  |  | STATION 1 | STATION 2 | STATION 3
TIME |  | 0630 | 0700 | 0730 |  | TIME |  | 0815 | 0845 | 0900 |  | TIME |  | 0900 | 1000 | 1030 |  | TIME |  | 0815 | 0845 | 0900 |  | TIME |  | 0830 | 0900 | 0930 |  | TIME |  | 0700 | 0730 | 0800 |  | TIME |  | 0715 | 0745 | 0815
SKY CONDITION |  | Clear | Clear | Clear |  | SKY CONDITION |  | Cloudy | Cloudy | Cloudy |  | SKY CONDITION |  | Cloudy | Cloudy | Cloudy |  | SKY CONDITION |  | Clear | Clear | Clear |  | SKY CONDITION |  | Clear | Clear | Clear |  | SKY CONDITION |  | Clear | Clear | Clear |  | SKY CONDITION |  | Cloudy | Cloudy | Cloudy
AIR TEMPERATURE (F) |  | 56 | 58 | 59 |  | AIR TEMPERATURE (F) |  | 56 | 61 | 66 |  | AIR TEMPERATURE (F) |  | 65 | 67 | 68 |  | AIR TEMPERATURE (F) |  | 60 | 64 | 68 |  | AIR TEMPERATURE (F) |  | 59 | 66 | 69 |  | AIR TEMPERATURE (F) |  | 56 | 59 | 62 |  | AIR TEMPERATURE (F) |  | 57 | 58 | 59
DEPTH | ELEVATION | WATER TEMPERATURE |  |  |  | DEPTH | ELEVATION | WATER TEMPERATURE |  |  |  | DEPTH | ELEVATION | WATER TEMPERATURE |  |  |  | DEPTH | ELEVATION | WATER TEMPERATURE |  |  |  | DEPTH | ELEVATION | WATER TEMPERATURE |  |  |  | DEPTH | ELEVATION | WATER TEMPERATURE |  |  |  | DEPTH | ELEVATION | WATER TEMPERATURE
(ft) | (ft NGVD) | (DEGREES FARENHEIT) |  |  |  | (ft) | (ft NGVD) | (DEGREES FARENHEIT) |  |  |  | (ft) | (ft NGVD) | (DEGREES FARENHEIT) |  |  |  | (ft) | (ft NGVD) | (DEGREES FARENHEIT) |  |  |  | (ft) | (ft NGVD) | (DEGREES FARENHEIT) |  |  |  | (ft) | (ft NGVD) | (DEGREES FARENHEIT) |  |  |  | (ft) | (ft NGVD) | (DEGREES FARENHEIT)
1 | 1466.27 | 63.3 | 63.6 | 64 |  | 1 | 1463.6 | 69.1 | 69.1 | 69.3 |  | 1 | 1463.2 | 71 | 71.4 | 72.2 |  | 1 | 1463.2 | 74.4 | 74.4 | 74 |  | 1 | 1463.27 | 77.1 | 76.9 | 76.9 |  | 1 | 1458.15 | 75.9 | 75.5 | 75.5 |  | 1 | 1452.85 | 74.2 | 74.2 | 74.2
2 | 1465.27 | 63.3 | 63.6 | 64 |  | 2 | 1462.6 | 69 | 69.1 | 69.3 |  | 2 | 1462.2 | 70.8 | 71.2 | 72 |  | 2 | 1462.2 | 74.4 | 74.4 | 74 |  | 2 | 1462.27 | 77.1 | 76.9 | 76.9 |  | 2 | 1457.15 | 75.9 | 75.7 | 75.5 |  | 2 | 1451.85 | 74.4 | 74.4 | 74.2
4 | 1463.27 | 63.3 | 63.5 | 64 |  | 4 | 1460.6 | 68.9 | 68.9 | 69.3 |  | 4 | 1460.2 | 70.6 | 71 | 71.8 |  | 4 | 1460.2 | 74.4 | 74.4 | 74 |  | 4 | 1460.27 | 77.1 | 76.9 | 76.9 |  | 4 | 1455.15 | 75.9 | 75.7 | 75.5 |  | 4 | 1449.85 | 74.4 | 74.4 | 74.2
6 | 1461.27 | 63.3 | 63.5 | 63.1 |  | 6 | 1458.6 | 68.9 | 68.9 | 68.9 |  | 6 | 1458.2 | 70.6 | 70.4 | 71.4 |  | 6 | 1458.2 | 74.4 | 74.4 | 73.4 |  | 6 | 1458.27 | 76.9 | 76.9 | 76.9 |  | 6 | 1453.15 | 75.9 | 75.7 | 75.5 |  | 6 | 1447.85 | 74.4 | 74.4 | 74.2
8 | 1459.27 | 63.3 | 63.3 | 62.5 |  | 8 | 1456.6 | 68.9 | 68.7 | 68.5 |  | 8 | 1456.2 | 70.4 | 69.8 | 70 |  | 8 | 1456.2 | 74.4 | 74.2 | 71.2 |  | 8 | 1456.27 | 76.9 | 76.7 | 76.7 |  | 8 | 1451.15 | 75.9 | 75.7 | 75.5 |  | 8 | 1445.85 | 74.4 | 74.4 | 74.2
10 | 1457.27 | 63.1 | 62.9 | 62.3 |  | 10 | 1454.6 | 68.9 | 68.7 | 67.7 |  | 10 | 1454.2 | 68.5 | 69.1 | 68.7 |  | 10 | 1454.2 | 74.2 | 72 | 69.7 |  | 10 | 1454.27 | 76.9 | 76.7 | 76.7 |  | 10 | 1449.15 | 75.9 | 75.7 | 75.5 |  | 10 | 1443.85 | 74.4 | 74.4 | 74.2
12 | 1455.27 | 63.1 | 61.9 | 61.5 |  | 12 | 1452.6 | 68.7 | 68.5 | 66.6 |  | 12 | 1452.2 | 67.7 | 68.3 | 68.3 |  | 12 | 1452.2 | 70.6 | 70 | 68.7 |  | 12 | 1452.27 | 76.7 | 76.7 | 74.6 |  | 12 | 1447.15 | 75.9 | 75.7 | 75.5 |  | 12 | 1441.85 | 74.4 | 74.4 | 74.2
14 | 1453.27 | 61.5 | 61.3 | 59.1 |  | 14 | 1450.6 | 68.3 | 66.8 | 65.4 |  | 14 | 1450.2 | 67.1 | 67.3 | 67.5 |  | 14 | 1450.2 | 69.3 | 69.1 | 68.1 |  | 14 | 1450.27 | 76.7 | 74.6 | 73.9 |  | 14 | 1445.15 | 75.9 | 75.7 | 75.5 |  | 14 | 1439.85 | 74.4 | 74.2 | 74
16 | 1451.27 | 58.7 | 58.6 | 57.8 |  | 16 | 1448.6 | 65 | 65.2 | 63.5 |  | 16 | 1448.2 | 66.8 | 66.9 | 66.8 |  | 16 | 1448.2 | 68.7 | 68.1 | 66.9 |  | 16 | 1448.27 | 73.9 | 73.2 | 72.4 |  | 16 | 1443.15 | 75.7 | 75.5 | 75.3 |  | 16 | 1437.85 | 74.2 | 73.6 | 73.6
18 | 1449.27 | 57.4 | 57.2 | 56.8 |  | 18 | 1446.6 | 64 | 64 | 62.7 |  | 18 | 1446.2 | 66 | 66 | 66.6 |  | 18 | 1446.2 | 67.5 | 67.3 | 66.6 |  | 18 | 1446.27 | 72.4 | 72.4 | 71.8 |  | 18 | 1441.15 | 75.7 | 75.5 | 75 |  | 18 | 1435.85 | 73.6 | 73.4 | 73.4
20 | 1447.27 | 56.8 | 56.2 | 56.4 |  | 20 | 1444.6 | 63.1 | 62.9 | 61.7 |  | 20 | 1444.2 | 65.4 | 65.4 | 65.8 |  | 20 | 1444.2 | 67.1 | 66.9 | 66 |  | 20 | 1444.27 | 71.4 | 71.4 | 71.2 |  | 20 | 1439.15 | 74.2 | 74.4 | 74.2 |  | 20 | 1433.85 | 73.4 | 73.4 | 73.2
22 | 1445.27 | 56 | 55.6 | 55.8 |  | 22 | 1442.6 | 62.3 | 61.7 | 61.3 |  | 22 | 1442.2 | 65 | 64.6 | 65 |  | 22 | 1442.2 | 66.5 | 66.4 | 65.4 |  | 22 | 1442.27 | 70.4 | 70.6 | 70.2 |  | 22 | 1437.15 | 73 | 73.4 | 73 |  | 22 | 1431.85 | 73.2 | 73.2 | 73
24 | 1443.27 | 55.6 | 55.4 | 55.6 |  | 24 | 1440.6 | 61.5 | 60.7 | 61.1 |  | 24 | 1440.2 | 64.4 | 64 | 64.2 |  | 24 | 1440.2 | 65.8 | 66 | 65.2 |  | 24 | 1440.27 | 69.8 | 69.8 | 69.8 |  | 24 | 1435.15 | 72.6 | 72.4 | 72 |  | 24 | 1429.85 | 73 | 73 | 72.4
26 | 1441.27 | 55.4 | 55.2 | 55 |  | 26 | 1438.6 | 60.1 | 59.9 | 60.3 |  | 26 | 1438.2 | 63.1 | 63.5 | 63.6 |  | 26 | 1438.2 | 65.4 | 65.6 | 65 |  | 26 | 1438.27 | 69.3 | 69.5 | 69.3 |  | 26 | 1433.15 | 71.6 | 71.4 | 71.2 |  | 26 | 1427.85 | 72.8 | 72.8 | 72.2
28 | 1439.27 | 55 | 54.8 | 54.8 |  | 28 | 1436.6 | 59.1 | 58.9 | 58.9 |  | 28 | 1436.2 | 62.5 | 62.5 | 63.1 |  | 28 | 1436.2 | 65 | 65 | 64.6 |  | 28 | 1436.27 | 68.9 | 69.1 | 68.7 |  | 28 | 1431.15 | 71 | 70.8 | 70.4 |  | 28 | 1425.85 | 72.6 | 72.6 | 71.8
30 | 1437.27 | 54.8 | 54.6 | 54.6 |  | 30 | 1434.6 | 58.2 | 57.6 | 57.4 |  | 30 | 1434.2 | 61.7 | 61.7 | 60.3 |  | 30 | 1434.2 | 64.6 | 64.8 | 63.5 |  | 30 | 1434.27 | 68.5 | 68.7 | 68.3 |  | 30 | 1429.15 | 70 | 69.8 | 69.7 |  | 30 | 1423.85 | 72.2 | 72.2 | 71.6
35 | 1432.27 | 54.4 | 54.2 | 54.4 |  | 35 | 1429.6 | 56.2 | 56.4 | 56.2 |  | 35 | 1429.2 | 59.5 | 59.7 | 58.4 |  | 35 | 1429.2 | 63.9 | 64 | 62.54 |  | 35 | 1429.27 | 67.3 | 67.3 | 67.1 |  | 35 | 1424.15 | 68.7 | 68.7 | 68.3 |  | 35 | 1418.85 | 71 | 70.8 | 70.8
40 | 1427.27 | 54 | 54 | 54.2 |  | 40 | 1424.6 | 55.2 | 55.4 | 55.4 |  | 40 | 1424.2 | 57.4 | 57.9 | 57.4 |  | 40 | 1424.2 | 63.3 | 63.1 | 61.1 |  | 40 | 1424.27 | 66.6 | 66.6 | 66.6 |  | 40 | 1419.15 | 67.7 | 67.7 | 67.5 |  | 40 | 1413.85 | 69.5 | 69.7 | 69.7
45 | 1422.27 | 53.8 | 53.8 | 53.8 |  | 45 | 1419.6 | 54.6 | 55 | 54.8 |  | 45 | 1419.2 | 56 | 56.2 | 57 |  | 45 | 1419.2 | 62.1 | 61.9 | 59.5 |  | 45 | 1419.27 | 66 | 66.2 | 66 |  | 45 | 1414.15 | 66.9 | 66.8 |  |  | 45 | 1408.85 | 68.3 | 68.3
50 | 1417.27 | 53.6 | 53.8 | 53.8 |  | 50 | 1414.6 | 54.4 | 54.6 | 54.6 |  | 50 | 1414.2 | 55.2 | 55.4 |  |  | 50 | 1414.2 | 60.7 | 60.3 |  |  | 50 | 1414.27 | 65.4 | 65.6 | 65.6 |  | 50 | 1409.15 | 66.4 | 66.4 |  |  | 50 | 1403.85 | 67.5 | 67.3
60 | 1407.27 | 53.4 | 53.4 | 53.4 |  | 60 | 1404.6 | 54 | 54 |  |  | 60 | 1404.2 | 54.6 | 54.4 |  |  | 60 | 1404.2 | 57.2 | 57 |  |  | 60 | 1404.27 | 64.6 | 64.8 | 64.9 |  | 60 | 1399.15 | 65.4 | 65.4 |  |  | 60 | 1393.85 | 66.4 | 66.4
70 | 1397.27 | 53.2 | 53.2 |  |  | 70 | 1394.6 | 53.7 | 53.6 |  |  | 70 | 1394.2 | 54 | 54 |  |  | 70 | 1394.2 | 55.2 | 55.6 |  |  | 70 | 1394.27 | 63.8 | 64 |  |  | 70 | 1389.15 | 64.8 | 64.6 |  |  | 70 | 1383.85 | 65.8 | 65.4
80 | 1387.27 | 53 | 53 |  |  | 80 | 1384.6 | 53.4 | 53.6 |  |  | 80 | 1384.2 | 53.8 | 53.8 |  |  | 80 | 1384.2 | 54.7 | 55 |  |  | 80 | 1384.27 | 63.3 | 63.5 |  |  | 80 | 1379.15 | 64.2 | 64 |  |  | 80 | 1373.85 | 65 | 65
90 | 1377.27 | 52.8 | 53 |  |  | 90 | 1374.6 | 53.3 | 53.4 |  |  | 90 | 1374.2 | 53 | 53.6 |  |  | 90 | 1374.2 | 54.2 | 54.4 |  |  | 90 | 1374.27 | 62.7 | 62.7 |  |  | 90 | 1369.15 | 63.8 |  |  |  | 90 | 1363.85 | 64.6
100 | 1367.27 | 52.8 |  |  |  | 100 | 1364.6 | 53 |  |  |  | 100 | 1364.2 | 53.4 |  |  |  | 100 | 1364.2 | 54 |  |  |  | 100 | 1364.27 | 61.5 | 60.9 | [8 empty] | 100 | 1353.85 | 64.2
110 | 1357.27 | 52.6 |  |  |  | 110 | 1354.6 | 52.8 |  |  |  | 110 | 1354.2 | 53.4 |  |  |  | 110 | 1354.2 | 53.8 |  |  |  | 110 | 1354.27 | 60.5 | [9 empty] | 110 | 1343.85 | 63.8
120 | 1347.27 | 52.4 |  |  |  | 120 | 1344.6 | 52.4 |  |  |  | 120 | 1344.2 | 53.4 |  |  |  | 120 | 1344.2 | 53.8
130 | 1337.27 |  |  |  |  | 130 | 1334.6 | [10 empty] | 130 | 1334.2 | 53.6
140
150
| * Based on water temperatures @ Station 1 | [5 empty] | * Based on water temperatures @ Station 1 | [5 empty] | * Based on water temperatures @ Station 1 | [5 empty] | * Based on water temperatures @ Station 1 | [5 empty] | * Based on water temperatures @ Station 1 | [5 empty] | * Based on water temperatures @ Station 1 | [5 empty] | * Based on water temperatures @ Station 1
| Storage Remaining (Ac-Ft) |  |  |  | Total Storage Remaining |  | Storage Remaining (Ac-Ft) |  |  |  | Total Storage Remaining |  | Storage Remaining (Ac-Ft) |  |  |  | Total Storage Remaining |  | Storage Remaining (Ac-Ft) |  |  |  | Total Storage Remaining |  | Storage Remaining (Ac-Ft) |  |  |  | Total Storage Remaining |  | Storage Remaining (Ac-Ft) |  |  |  | Total Storage Remaining |  | Storage Remaining (Ac-Ft) |  |  |  | Total Storage Remaining
| Below 68 degrees | Below 65 degrees | Below 60 degrees | Below 55 degrees |  |  | Below 68 degrees | Below 65 degrees | Below 60 degrees | Below 55 degrees |  |  | Below 68 degrees | Below 65 degrees | Below 60 degrees | Below 55 degrees |  |  | Below 68 degrees | Below 65 degrees | Below 60 degrees | Below 55 degrees |  |  | Below 68 degrees | Below 65 degrees | Below 60 degrees | Below 55 degrees |  |  | Below 68 degrees | Below 65 degrees | Below 60 degrees | Below 55 degrees |  |  | Below 68 degrees | Below 65 degrees | Below 60 degrees | Below 55 degrees
2019-05-23 | 18933 | 18933 | 13900 | 10478 | 18933 | 2019-05-23 | 18933 | 18933 | 13900 | 10478 | 18933 | 2019-05-23 | 18933 | 18933 | 13900 | 10478 | 18933 | 2019-05-23 | 18933 | 18933 | 13900 | 10478 | 18933 | 2019-05-23 | 18933 | 18933 | 13900 | 10478 | 18933 | 2019-05-23 | 18933 | 18933 | 13900 | 10478 | 18933 | 2019-05-23 | 18933 | 18933 | 13900 | 10478 | 18933
[6 empty] | 2019-06-05 | 13381 | 12867 | 10275 | 7094 | 17954 | 2019-06-05 | 13381 | 12867 | 10275 | 7094 | 17954 | 2019-06-05 | 13381 | 13381 | 10275 | 7094 | 17954 | 2019-06-05 | 13381 | 13381 | 10275 | 7094 | 17954 | 2019-06-05 | 13381 | 13381 | 10275 | 7094 | 17954 | 2019-06-05 | 13381 | 13381 | 10275 | 7094 | 17954
[12 empty] | 2019-06-20 | 14123 | 11183 | 8512 | 5175 | 17813 | 2019-06-20 | 14123 | 11183 | 8512 | 5175 | 17813 | 2019-06-20 | 14123 | 11183 | 8512 | 5175 | 17813 | 2019-06-20 | 14123 | 11183 | 8512 | 5175 | 17813 | 2019-06-20 | 14123 | 11183 | 8512 | 5175 | 17813
[18 empty] | 2019-07-01 | 13697 | 10813 | 6053 | 3106 | 19511 | 2019-07-01 | 13697 | 10813 | 6053 | 3106 | 19511 | 2019-07-01 | 13697 | 10813 | 6053 | 3106 | 19511 | 2019-07-01 | 13697 | 10813 | 6053 | 3106 | 19511
[24 empty] | 2019-07-25 | 8898 | 5185 | 0 | 0 | 17839 | 2019-07-25 | 8898 | 5185 | 0 | 0 | 17839 | 2019-07-25 | 8898 | 5185 | 0 | 0 | 17839
[30 empty] | 2019-08-12 | 6700 | 2867 | 0 | 0 | 16076 | 2019-08-12 | 6700 | 2867 | 0 | 0 | 16076
[36 empty] | 2019-09-05 | 4626 | 1189 | 0 | 0 | 14395
Formulas:
GATE SETTINGS: = [GATE SETTINGS:]

## Below 68
Date | Storage
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
2011-05-01
2011-05-02
2011-05-03
2011-05-04
2011-05-05
2011-05-06
2011-05-07
2011-05-08
2011-05-09
2011-05-10
2011-05-11 | [7 empty] | 17162.02
2011-05-12
2011-05-13 | 12851
2011-05-14 | [5 empty] | 19573.98
2011-05-15 |  |  |  |  | 19645.99
2011-05-16 |  |  |  | 19601
2011-05-17
2011-05-18
2011-05-19 |  | 19190 | 19750 | [5 empty] | 17703.34
2011-05-20
2011-05-21 | [6 empty] | 19578.48 |  |  |  | 18922
2011-05-22 | [9 empty] | 17803
2011-05-23 | [11 empty] | 18933
2011-05-24
2011-05-25
2011-05-26 | [7 empty] | 17022
2011-05-27
2011-05-28 | 19093 |  |  |  |  | 18852
2011-05-29 |  |  |  |  | 16052.12
2011-05-30
2011-05-31 |  |  |  | 19570
2011-06-01 | [8 empty] | 17932.28
2011-06-02 |  | 17714 | 16382 |  |  |  | 18464
2011-06-03
2011-06-04
2011-06-05 | [11 empty] | 13381
2011-06-06
2011-06-07 | [9 empty] | 16722.335 | 19282
2011-06-08 | [7 empty] | 12843
2011-06-09
2011-06-10 | 16818
2011-06-11 |  |  |  |  | 13950.95
2011-06-12
2011-06-13
2011-06-14 |  |  |  | 14088 |  |  |  |  | 14486.29
2011-06-15 |  | 14302 | 14534
2011-06-16
2011-06-17 | [6 empty] | 17127.56
2011-06-18 | [5 empty] | 13400.77 |  |  |  |  | 15436
2011-06-19
2011-06-20 | [9 empty] | 15678.58 |  | 14123
2011-06-21
2011-06-22
2011-06-23 | 14480
2011-06-24 | [7 empty] | 14620
2011-06-25
2011-06-26
2011-06-27 |  |  |  | 13380 | 11215.23 |  |  |  | 14171.06
2011-06-28 | [5 empty] | 11608
2011-06-29 |  | 14138
2011-06-30 |  |  | 11901 |  |  |  | 13472.14 | 19525
2011-07-01 | [11 empty] | 13697
2011-07-02 | [10 empty] | 14659
2011-07-03
2011-07-04
2011-07-05 | [9 empty] | 12578
2011-07-06
2011-07-07 | 13261
2011-07-08 |  |  | 10073
2011-07-09 | [5 empty] | 14141.29
2011-07-10
2011-07-11
2011-07-12
2011-07-13 |  |  |  | 10472 |  |  |  | 14614
2011-07-14 | [8 empty] | 11374.6
2011-07-15 |  | 11636
2011-07-16
2011-07-17
2011-07-18 |  |  |  |  | 8123.53
2011-07-19
2011-07-20
2011-07-21 | 12168 | [5 empty] | 9945.31
2011-07-22 |  |  | 9208 |  |  | 12763.79
2011-07-23
2011-07-24
2011-07-25 | [10 empty] | 12493 | 8898
2011-07-26 | [9 empty] | 10623
2011-07-27 |  | 10650
2011-07-28
2011-07-29
2011-07-30
2011-07-31
2011-08-01 |  |  |  | 7722
2011-08-02 |  |  | 7549 | [6 empty] | 13636
2011-08-03 | [7 empty] | 10334.25
2011-08-04 | 9108.44
2011-08-05 | [8 empty] | 8664.98
2011-08-06 |  |  |  |  | 6891.66
2011-08-07
2011-08-08
2011-08-09
2011-08-10
2011-08-11 |  | 8334 |  |  |  |  | 8250
2011-08-12 | [5 empty] | 10352.1 | [5 empty] | 6700
2011-08-13
2011-08-14 | [9 empty] | 13162.648
2011-08-15
2011-08-16 |  |  | 6318
2011-08-17
2011-08-18 | 8373.25
2011-08-19
2011-08-20
2011-08-21
2011-08-22
2011-08-23 | [8 empty] | 6404.63 |  | 8519
2011-08-24 |  | 6859 |  | 5667.55
2011-08-25 | [6 empty] | 7369 | 7410.99
2011-08-26 | [5 empty] | 11663
2011-08-27 |  |  |  |  | 5285.78
2011-08-28
2011-08-29
2011-08-30 |  |  | 4823
2011-08-31
2011-09-01
2011-09-02 | 7026
2011-09-03
2011-09-04
2011-09-05 | [11 empty] | 4626
2011-09-06
2011-09-07 | [9 empty] | 14391.12
2011-09-08 | [6 empty] | 5528.68
2011-09-09 | [8 empty] | 4435.02
2011-09-10 |  | 6910 | 2850 |  | 4251.09 | 9941
2011-09-11 |  |  | 2750
2011-09-12 |  |  | 2400 | 8538.04
2011-09-13 |  |  | 2286
2011-09-14 |  |  | 2175
2011-09-15 |  |  | 2050
2011-09-16 | 5480 |  | 1950
2011-09-17 |  |  | 1875 |  |  |  |  | 5194
2011-09-18 |  |  | 1775 | [6 empty] | 10581.36
2011-09-19 |  |  | 1700
2011-09-20 |  |  | 1625
2011-09-21 |  | 4140 | 1550
2011-09-22 |  |  | 1475 | [5 empty] | 3321.81
2011-09-23 |  |  | 1425 |  |  |  | 3823
2011-09-24
2011-09-25 |  |  |  |  | 11735.64
2011-09-26 |  |  |  | 10846.72
2011-09-27
2011-09-28 | [8 empty] | 2736.5
2011-09-29 | 4817.82 |  | 1001
2011-09-30 |  | 11591
2011-10-01
2011-10-02
2011-10-03
2011-10-04
2011-10-05 | [9 empty] | 11506.56
2011-10-06 | [7 empty] | 12873.04
2011-10-07 | [6 empty] | 9954
2011-10-08 | [5 empty] | 13460.27
2011-10-09 |  |  |  |  | 10377.74
2011-10-10 | [10 empty] | 12030
2011-10-11 |  |  |  | 12640.83
2011-10-12
2011-10-13
2011-10-14
2011-10-15
2011-10-16
2011-10-17
2011-10-18
2011-10-19
2011-10-20
2011-10-21
2011-10-22
2011-10-23
2011-10-24
2011-10-25
2011-10-26
2011-10-27
2011-10-28
2011-10-29
2011-10-30
2011-10-31